## Slide 1
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 2
HOOD ALARM
Hmmm….Better make sure I have on the proper PPE before I get started….
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 3
Lab coat
Goggles
Proper Gloves
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 4
Lab coat
Goggles
Proper Gloves
HOOD ALARM
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 5
Lab coat
Goggles
Proper Gloves
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 6
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 7
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 8
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 9
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 10
HEY!
Who put stickers all over my fume hood?
HOOD ALARM
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 11
Environmental Health and Safety was here today, they certified your fume hood!
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 12
Oh Cool!
What do all of the stickers mean?
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 13
Since your chemical fume hood passed the EHS certification, the front of the hood displays this sticker

## Slide 14
Awesome! But what does all of that information mean?

## Slide 15
The hood and fan number are specific to your fume hood and the fan connected to it-- this is so EHS can keep track of all of the fume hoods around campus.

## Slide 16
Did you know that there are over 650 chemical fume hoods on CWRU’s campus?!

## Slide 17
FPM stands for feet per minute. This is the unit of measurement for the air velocity measured at the face of the hood. Essentially, this number tells you if your fume hood is doing its job properly. CWRU certifies fume hoods that have face velocities within certain ranges, because too low a value or too high a value can mean that you are not being protected while working in the hood.

## Slide 18
The last line displays the date the fume hood was inspected and the initials of the safety officer that inspected it.

## Slide 19
Okay, that makes sense. But what’s with the “@ 18 in” after FPM?

## Slide 20
Let’s look at the fume hood for that.

## Slide 21
See the red, yellow, and green sticker to the left? It says “Less Energy More Safe”.
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 22
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 23
Yep.
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 24
That sticker shows you the appropriate level to open the sash of the hood while working. But keep in mind, the lower the sash, the better.
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 25
The sticker has been placed so that the line between the red and yellow portions indicates 18 inches from the working surface of the hood. That is the level EHS opens the sash to when certifying the hoods. It is also the highest you should ever open the sash while working.
HOOD ALARM
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy
18 inches from working surface

## Slide 26
Certified
by EHS
More Safe Less Energy
FLAMMABLE
CORROSIVE

## Slide 27
Certified
by EHS
More Safe Less Energy
FLAMMABLE
CORROSIVE

## Slide 28
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 29
Certified
by EHS
FLAMMABLE
CORROSIVE
I can hear the fan working!
HOOD ALARM
More Safe
Less
Energy

## Slide 30
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 31
Certified
by EHS
FLAMMABLE
CORROSIVE
Yes! By the way, our fume hoods utilize a variety of air flow monitors. Although they may look different, all of the monitors have a singular purpose: to indicate air flow inside the hood. All air flow monitors are calibrated and will sound an alarm if the detected air flow is above or below the acceptable flow rate (determined by use, hood type, and room).
Air Flow Monitor
HOOD ALARM
More Safe
Less
Energy

## Slide 32
Your air monitor doesn’t have any stickers on it, which means it is functioning properly. If it were not, one of these two stickers would be displayed on the face of the monitor. The EHS safety officer that tested the monitor will contact maintenance, if necessary.

## Slide 33
Certified
by EHS
FLAMMABLE
CORROSIVE
I’m glad that my monitor is working properly!
HOOD ALARM
More Safe
Less
Energy

## Slide 34
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 35
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 36
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 37
Certified
by EHS
FLAMMABLE
CORROSIVE
Is it ever okay to open the sash above 18 inches?
HOOD ALARM
More Safe
Less
Energy

## Slide 38
Certified
by EHS
FLAMMABLE
CORROSIVE
Not while you are actively working. But it is okay to open the sash above 18 inches while setting things up. Go ahead and open the sash as much as you can since you are not working.
HOOD ALARM
More Safe
Less
Energy

## Slide 39
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 40
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 41
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 42
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 43
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy
It sounds like the air flow has slowed down…

## Slide 44
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy
Ha ha ha

## Slide 45
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy
WHAT is THAT?!

## Slide 46
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy
THAT is the fume hood monitor alarming you that there is low flow in your hood. This is why it is not safe to work in the hood with the sash all the way open. Go ahead and close it.

## Slide 47
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 48
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 49
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy

## Slide 50
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy
If you want to learn more about your particular monitor, visit EHS’s website, https://www.case.edu/ehs/

## Slide 51
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy
Most importantly, if your monitor ever alarms while you are actively working– shut the sash and call EHS immediately.

## Slide 52
Certified
by EHS
FLAMMABLE
CORROSIVE
Cool. Are there any other EHS stickers or anything that I should know about?
HOOD ALARM
More Safe
Less
Energy

## Slide 53
Certified
by EHS
FLAMMABLE
CORROSIVE
There is one more sticker that we haven’t talked about and two signs that may be displayed on the sash of the hood.
HOOD ALARM
More Safe
Less
Energy

## Slide 54
If your fume hood would have failed EHS’s certification, this sticker would be displayed on your hood.

## Slide 55
Would I need to submit a maintenance report?

## Slide 56
Great question. No, you do not need to contact maintenance, the EHS safety officer that performed the certification will contact maintenance, if necessary. If your fume hood fails the certification it will display a sign on the sash…

## Slide 57
This is what that sign looks like. The EHS safety officer will check one of the boxes at the top of the sign to indicate whether it is okay to continue using the hood while waiting on it to be fixed.

## Slide 58
The other sign you may see looks like this, and is displayed when housekeeping is necessary.

## Slide 59
Certified
by EHS
FLAMMABLE
CORROSIVE
Great! Thanks for your help!
HOOD ALARM
More Safe
Less
Energy

## Slide 60
You’re welcome! Remember, always keep the sash as low as possible while working. And don’t forget to close the sash when you are done!
Certified
by EHS
FLAMMABLE
CORROSIVE
HOOD ALARM
More Safe
Less
Energy