CLEAR AND HYDRATE

2x5 min xylene

2x5 min 100% EtOH

2x5 min 95% EtOH

5 min PBS

ANTIGEN RETRIEVAL

10min boiling 10mM citrate buffer pH 6.0

15-20min cool

3x3 min PBS

BLOCKING

1 hour with block from kit PLUS 15µl/ml goat serum

2x5 min PBST

PRIMARY ANTIBODY (dilute pSmad2 in BSA blocking buffer)

100-200µl antibody/section. Incubate O/N at 4˚

2x5 min PBS wash

SECONDARY ANTIBODY

Cover section with antibody-polymer form kit.

Incubate at 37˚C 1 hour.

2x10min PBS wash

DAB DEVELOPMENT (use kit components: 1ml Dab buffer+1drop Dab reagent)

~100µl DAB solution per section

Incubate ~2min.  Watch closely so as not to over-develop

Drop slides in water to stop reaction

COUNTERSTAIN

15sec Hematoxylin (Gill’s III) at 1:10 dilution

Dump stain and run slides under water until water is clear.

2min Scott’s Bluing Solution

5 min PBS wash

DEHYDRATE AND MOUNT

5 min 	95% EtOH

5 min  100% EtOH

2x5 min xylene and mount

SOLUTIONS

BLOCK

|  | 1 ml | x |
| --- | --- | --- |
| Dako kit block | 1 ml |  |
| Goat serum | 15µl |  |

Primary Antibody buffer			x

| PBS | 1 ml |  |
| --- | --- | --- |
| BSA | 0.05g |  |
| Goat serum | 15µl |  |

EXPERIMENTAL SLIDES

|  | ID | Gntype | Slide | Tissue |
| --- | --- | --- | --- | --- |